## Sheet1
Lev | Batch | UD code | Inspection Lot | IL short text | Operation | Operation short text | Physical sample | Inspection unit number | Plant | Material | Material description | Shelf Life Exp. Date | Last goods receipt | Order | Vendor | Sequence | Vial | Seq. Notification | Weighing No. | Date | Time | A/R | Production event occured | Specification | Unit | A/R | QC OOS value occured | Specification | Unit | A/R | QC OOS verification | Specification | Unit | A/R | QC event occured | Specification | Unit | A/R | Deviations from analytical method | Specification | Unit | A/R | QC documents archived | Specification | Unit | A/R | Pages inclusive cover | Specification | Unit | A/R | DCP 1 documentation | Specification | Unit | A/R | Status of DCP | Specification | Unit | A/R | No DCP on precursor | Specification | Unit | A/R | DCP 2 documentation | Specification | Unit | A/R | DCP 3 documentation | Specification | Unit | A/R | Additional Information | Specification | Unit | A/R | Batch record review | Specification | Unit | A/R | Retain Sample Chem Created | Specification | Unit | A/R | Retain Sample Bio Created | Specification | Unit | A/R | Appearance color | Specification | Unit | A/R | Appearance texture | Specification | Unit | A/R | Appearance properties | Specification | Unit | A/R | Water content | Specification | Unit | A/R | Molecular weight (LCMS) | Specification | Unit | A/R | Assay Ag (ICP-MS) | Specification | Unit | A/R | Assay As (ICP-MS) | Specification | Unit | A/R | Assay Au (ICP-MS) | Specification | Unit | A/R | Assay Ba (ICP-MS) | Specification | Unit | A/R | Assay Cd (ICP-MS) | Specification | Unit | A/R | Assay Co (ICP-MS) | Specification | Unit | A/R | Assay Cr (ICP-MS) | Specification | Unit | A/R | Assay Cu (ICP-MS) | Specification | Unit | A/R | Assay Hg (ICP-MS) | Specification | Unit | A/R | Assay Ir (ICP-MS) | Specification | Unit | A/R | Assay Li (ICP-MS) | Specification | Unit | A/R | Assay Mo (ICP-MS) | Specification | Unit | A/R | Assay Ni (ICP-MS) | Specification | Unit | A/R | Assay Os (ICP-MS) | Specification | Unit | A/R | Assay Pb (ICP-MS) | Specification | Unit | A/R | Assay Pd (ICP-MS) | Specification | Unit | A/R | Assay Pt (ICP-MS) | Specification | Unit | A/R | Assay Rh (ICP-MS) | Specification | Unit | A/R | Assay Ru (ICP-MS) | Specification | Unit | A/R | Assay Sb (ICP-MS) | Specification | Unit | A/R | Assay Se (ICP-MS) | Specification | Unit | A/R | Assay Sn (ICP-MS) | Specification | Unit | A/R | Assay Tl (ICP-MS) | Specification | Unit | A/R | Assay V (ICP-MS) | Specification | Unit | A/R | 1H-NMR | Specification | Unit | A/R | Sample-Concentration 1 [mg/ml] | Specification | Unit | A/R | Identity retention time HPLC | Specification | Unit | A/R | Purity ALC-0366 | Specification | Unit | A/R | Sum of all impurities | Specification | Unit | A/R | Assay ALC-0366 | Specification | Unit | A/R | Assay TEMPO | Specification | Unit | A/R | Conc. Sample [mg/ml] | Specification | Unit | A/R | Response STD 1 Acetonitril | Specification | Unit | A/R | Response STD 2 Acetonitril | Specification | Unit | A/R | Mean Response Acetonitrile | Specification | Unit | A/R | Assay Acetonitrile | Specification | Unit | A/R | Assay Ethyl acetate | Specification | Unit | A/R | Response STD 1 n-Heptane | Specification | Unit | A/R | Response STD 2 n-Heptane | Specification | Unit | A/R | Mean Response | Specification | Unit | A/R | Assay n-Heptan | Specification | Unit | A/R | Assay Toluol | Specification | Unit | A/R | Testconcentration ET [mg/ml] | Specification | Unit | A/R | Bacterial endotoxins (BET) | Specification | Unit | A/R | Bacterial endotoxins (BET) calculated | Specification | Unit | A/R | Microbial Count (TAMC) | Specification | Unit | A/R | Microbial Count (TYMC) | Specification | Unit | A/R | Escherichia coli | Specification | Unit | A/R | Staphylococcus aureus | Specification | Unit | A/R | Pseudomonas aeruginosa | Specification | Unit | A/R | Salmonella | Specification | Unit | A/R | Residue on Evaporation | Specification | Unit | A/R | Level Imp. Nonandiol | Specification | Unit | A/R | Level Imp. 2-Butyloctanoic acid | Specification | Unit | A/R | Level Imp. Ester ALC-0366 | Specification | Unit | A/R | Level Imp. Aldehyde ALC-0366 | Specification | Unit | A/R | Level Unknown 1 | Specification | Unit | A/R | Level Unknown 2 | Specification | Unit | A/R | Level Unknown 3 | Specification | Unit | A/R | Level Unknown 4 | Specification | Unit | A/R | Level Unknown 5 | Specification | Unit | A/R | Level Unknown 6 | Specification | Unit | A/R | Level Unknown 7 | Specification | Unit | A/R | Level Unknown 8 | Specification | Unit | A/R | Level Unknown 9 | Specification | Unit | A/R | Level Unknown 10 | Specification | Unit | A/R | Level Impurity11 | Specification | Unit | A/R | Level Impurity12 | Specification | Unit | A/R | Level Impurity13 | Specification | Unit | A/R | Level Impurity14 | Specification | Unit | A/R | Level Impurity15 | Specification | Unit | A/R | Level Impurity16 | Specification | Unit | A/R | Level Impurity17 | Specification | Unit | A/R | Level Impurity18 | Specification | Unit | A/R | Level Impurity19 | Specification | Unit | A/R | Level Impurity20 | Specification | Unit | A/R | Level sum known Impurities | Specification | Unit | A/R | Level sum unknown Impurities 1-10 | Specification | Unit | A/R | Level sum unknown Impurities 11-20 | Specification | Unit | A/R | Sum of all impurities | Specification | Unit | A/R | Purity ALC-0366 | Specification | Unit | A/R | RRT Unknown 1 (≥ 0.05%) | Specification | Unit | A/R | Level Unknown 1 (≥ 0.05%) | Specification | Unit | A/R | RRT Unknown 2 (≥ 0.05%) | Specification | Unit | A/R | Level Unknown 2 (≥ 0.05%) | Specification | Unit | A/R | RRT Unknown 3 (≥ 0.05%) | Specification | Unit | A/R | Level Unknown 3 (≥ 0.05%) | Specification | Unit | A/R | RRT Unknown 4 (≥ 0.05%) | Specification | Unit | A/R | Level Unknown 4 (≥ 0.05%) | Specification | Unit | A/R | RRT Unknown 5 (≥ 0.05%) | Specification | Unit | A/R | Level Unknown 5 (≥ 0.05%) | Specification | Unit | A/R | RRT Unknown 6 (≥ 0.05%) | Specification | Unit | A/R | Level Unknown 6 (≥ 0.05%) | Specification | Unit | A/R | RRT Unknown 7 (≥ 0.05%) | Specification | Unit | A/R | Level Unknown 7 (≥ 0.05%) | Specification | Unit | A/R | RRT Unknown 8 (≥ 0.05%) | Specification | Unit | A/R | Level Unknown 8 (≥ 0.05%) | Specification | Unit | A/R | RRT Unknown 9 (≥ 0.05%) | Specification | Unit | A/R | Level Unknown 9 (≥ 0.05%) | Specification | Unit | A/R | RRT Unknown 10 (≥ 0.05%) | Specification | Unit | A/R | Level Unknown 10 (≥ 0.05%) | Specification | Unit | A/R | Bacterial endotoxins (BET) | Specification | Unit
1 | ACC0001-XX | A1 | 40000369940 | [5 empty] | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 | [9 empty] | no |  | A | no | no |  |  |  | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 8.00000 |  | PC | A | No | Deviation occured |  |  |  | All DCP are closed |  | A | Yes | No DCP on precursor occured |  | A | No | Deviation occured |  | A | No | Deviation occured |  |  |  | Additional Information |  | A | Yes | Batch Record Review is completed |  | A | yes | yes |  | A | yes | yes |  | A | colorless | report data / appearance color |  | A | oil | report data / appearance texture |  | A | clear | report data / appearance properties |  | A | 0.06745 | <= 2.0 | % | A | complies to structure | complies to structure |  | A | 0.30000 | <= 1 | µg/g | A | 0.45000 | <= 1.5 | µg/g | A | 3.00000 | <= 10 | µg/g | A | 21.00000 | <= 70 | µg/g | A | 0.06000 | <= 0.2 | µg/g | A | 0.15000 | <= 0.5 | µg/g | A | 33.00000 | <= 110 | µg/g | A | 9.00000 | <= 30 | µg/g | A | 0.09000 | <= 0.3 | µg/g | A | 0.30000 | <= 1 | µg/g | A | 7.50000 | <= 25 | µg/g | A | 45.00000 | <= 150 | µg/g | A | 0.60000 | <= 2 | µg/g | A | 0.30000 | <= 1 | µg/g | A | 0.15000 | <= 0.5 | µg/g | A | 0.30000 | <= 1 | µg/g | A | 0.30000 | <= 1 | µg/g | A | 0.30000 | <= 1 | µg/g | A | 0.30000 | <= 1 | µg/g | A | 2.70000 | <= 9 | µg/g | A | 2.40000 | <= 8 | µg/g | A | 18.00000 | <= 60 | µg/g | A | 0.24000 | <= 0.8 | µg/g | A | 0.30000 | <= 1 | µg/g | A | complies to structure | complies to structure |  | A | 2.43500 |  | mg/ml | A | conforms to reference | conforms to reference |  | A | 97.76500 | >= 95.0 | % | A | 2.23500 | <= 5.0 | % | A | 98.89500 | 90 .. 110 | % | A | 2.48100 |  | ppm | A | 25.22350 |  | mg/ml | A | 0.19215 | No specifications |  | A | 0.19250 | No specifications |  | A | 0.19233 | No specifications |  | A | 7.55999 | <= 410 | ppm | A | 71.16061 | <= 5000 | ppm | A | 0.01485 | No specifications |  | A | 0.01477 | No specifications |  | A | 0.01481 | No specifications |  | A | 0.00000 | <= 5000 | ppm | A | 81.33111 | <= 890 | ppm | A | 1.52625 | 1.5 | mg/ml | A | 0.00667 | <= 0.20 | EU/mg | A | 6.67000 |  | EU/g | A | 5.00000 | <= 100 | CFU/g | A | 5.00000 | <= 100 | CFU/g | A | absent in 1 g | absent in 1 g |  | A | absent in 1 g | absent in 1 g |  | A | absent in 1 g | absent in 1 g |  | A | absent in 10 g | absent in 10 g
2 | ACC0001-XX | A1 | 40000369940 |  | 0110 | Review Analytical Chemistry | 200585857 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  |  |  |  | 1 | 19.08.2022 | 11:07:35 |  |  |  |  | A | no | no | [5 empty] | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 8.00000 |  | PC
2 | ACC0001-XX | A1 | 40000369940 |  | 0125 | QA Review | 200585857 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  |  |  |  | 1 | 19.08.2022 | 11:07:35 | [28 empty] | A | No | Deviation occured | [5 empty] | A | Yes | No DCP on precursor occured |  | A | No | Deviation occured |  | A | No | Deviation occured | [5 empty] | A | Yes | Batch Record Review is completed
2 | ACC0001-XX | A1 | 40000369940 |  | 0301 | Retain Sample Chemical Analytics | 200585857 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  |  |  |  | 1 | 19.08.2022 | 11:07:35 | [56 empty] | A | yes | yes
2 | ACC0001-XX | A1 | 40000369940 |  | 0302 | Retain Sample Bio Anayltics | 200585859 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  |  |  |  | 1 | 19.08.2022 | 11:07:35 | [60 empty] | A | yes | yes
2 | ACC0001-XX | A1 | 40000369940 |  | 1100 | Appearance | 200585857 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  |  |  |  | 1 | 19.08.2022 | 11:07:35 | [64 empty] | A | colorless | report data / appearance color |  | A | oil | report data / appearance texture |  | A | clear | report data / appearance properties
2 | ACC0001-XX | A1 | 40000369940 |  | 2400 | Watercontent (KF) Coulometric | 200585857 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  | 000000007000038473 | 1 | 7000038473 | 3 | 13.10.2022 | 14:21:33 | [76 empty] | A | 0.06610 | <= 2.0 | %
2 | ACC0001-XX | A1 | 40000369940 |  | 2400 | Watercontent (KF) Coulometric | 200585857 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  | 000000007000038473 | 2 | 7000038473 | 4 | 13.10.2022 | 14:21:38 | [76 empty] | A | 0.06880 | <= 2.0 | %
2 | ACC0001-XX | A1 | 40000369940 |  | 2800 | Identity (LCMS) | 200585857 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  |  |  |  | 1 | 19.08.2022 | 11:07:35 | [80 empty] | A | complies to structure | complies to structure
2 | ACC0001-XX | A1 | 40000369940 |  | 2900 | Heavy Metals (ICP-MS) | 200585857 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  |  |  |  | 1 | 19.08.2022 | 11:07:35 | [84 empty] | A | 0.30000 | <= 1 | µg/g | A | 0.45000 | <= 1.5 | µg/g | A | 3.00000 | <= 10 | µg/g | A | 21.00000 | <= 70 | µg/g | A | 0.06000 | <= 0.2 | µg/g | A | 0.15000 | <= 0.5 | µg/g | A | 33.00000 | <= 110 | µg/g | A | 9.00000 | <= 30 | µg/g | A | 0.09000 | <= 0.3 | µg/g | A | 0.30000 | <= 1 | µg/g | A | 7.50000 | <= 25 | µg/g | A | 45.00000 | <= 150 | µg/g | A | 0.60000 | <= 2 | µg/g | A | 0.30000 | <= 1 | µg/g | A | 0.15000 | <= 0.5 | µg/g | A | 0.30000 | <= 1 | µg/g | A | 0.30000 | <= 1 | µg/g | A | 0.30000 | <= 1 | µg/g | A | 0.30000 | <= 1 | µg/g | A | 2.70000 | <= 9 | µg/g | A | 2.40000 | <= 8 | µg/g | A | 18.00000 | <= 60 | µg/g | A | 0.24000 | <= 0.8 | µg/g | A | 0.30000 | <= 1 | µg/g
2 | ACC0001-XX | A1 | 40000369940 |  | 3100 | Identification (1H-NMR Spectroscopy) | 200585857 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  |  | 1 |  | 1 | 19.08.2022 | 11:07:35 | [180 empty] | A | complies to structure | complies to structure
2 | ACC0001-XX | A1 | 40000369940 |  | 4000 | HPLC Purity & Assay | 200585857 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  |  | 1 |  | 1 | 19.08.2022 | 11:07:35 | [184 empty] | A | 2.42150 |  | mg/ml | A | conforms to reference | conforms to reference |  | A | 97.76000 | >= 95.0 | % | A | 2.24000 | <= 5.0 | % | A | 99.24000 | 90 .. 110 | %
2 | ACC0001-XX | A1 | 40000369940 |  | 4000 | HPLC Purity & Assay | 200585857 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  |  | 2 |  | 2 | 19.08.2022 | 11:07:35 | [184 empty] | A | 2.44850 |  | mg/ml | A | conforms to reference | conforms to reference |  | A | 97.77000 | >= 95.0 | % | A | 2.23000 | <= 5.0 | % | A | 98.55000 | 90 .. 110 | %
2 | ACC0001-XX | A1 | 40000369940 |  | 4050 | Assay TEMPO, internal | 200585857 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  |  |  |  | 1 | 24.08.2022 | 11:32:44 | [204 empty] | A | 2.48100 |  | ppm
2 | ACC0001-XX | A1 | 40000369940 |  | 4130 | Residual Solvents (GC-HS) | 200585857 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  | R_ACC_007000038500 | 1 | 7000038500 | 1 | 19.08.2022 | 11:07:35 | [208 empty] | A | 24.69500 |  | mg/ml | A | 0.19215 | No specifications |  | A | 0.19250 | No specifications |  | A | 0.19233 | No specifications |  | A | 7.89868 | <= 410 | ppm | A | 70.74857 | <= 5000 | ppm | A | 0.01485 | No specifications |  | A | 0.01477 | No specifications |  | A | 0.01481 | No specifications |  | A | 0.00000 | <= 5000 | ppm | A | 81.10786 | <= 890 | ppm
2 | ACC0001-XX | A1 | 40000369940 |  | 4130 | Residual Solvents (GC-HS) | 200585857 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  | R_ACC_007000038500 | 2 | 7000038500 | 2 | 19.08.2022 | 11:07:35 | [208 empty] | A | 25.75200 |  | mg/ml | A | 0.19215 | No specifications |  | A | 0.19250 | No specifications |  | A | 0.19233 | No specifications |  | A | 7.22130 | <= 410 | ppm | A | 71.57266 | <= 5000 | ppm | A | 0.01485 | No specifications |  | A | 0.01477 | No specifications |  | A | 0.01481 | No specifications |  | A | 0.00000 | <= 5000 | ppm | A | 81.55436 | <= 890 | ppm
2 | ACC0001-XX | A1 | 40000369940 |  | 5000 | Endotoxine | 200585859 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  |  | 1 | 7000038631 | 1 | 19.08.2022 | 11:07:35 | [252 empty] | A | 1.52625 | 1.5 | mg/ml | A | 0.00667 | <= 0.20 | EU/mg | A | 6.67000 |  | EU/g
2 | ACC0001-XX | A1 | 40000369940 |  | 5010 | TAMC & TYMC | 200585859 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  |  | 1 | 7000038552 | 1 | 19.08.2022 | 11:07:35 | [264 empty] | A | 5.00000 | <= 100 | CFU/g | A | 5.00000 | <= 100 | CFU/g
2 | ACC0001-XX | A1 | 40000369940 |  | 5020 | Specified Microorganisms | 200585859 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | 2010006076 |  |  | 1 |  | 1 | 19.08.2022 | 11:07:35 | [272 empty] | A | absent in 1 g | absent in 1 g |  | A | absent in 1 g | absent in 1 g |  | A | absent in 1 g | absent in 1 g |  | A | absent in 10 g | absent in 10 g
1 | ACC0001-XX | A0 | 890000139310 | IPK1 Fraktionen |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [12 empty] | A | no | no |  |  |  | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 3.00000 |  | PC | [156 empty] | A | 2.50700 |  | mg/ml |  |  |  |  | A | 97.07333 | >= 95.0 | % | A | 2.92667 |  | % | [88 empty] | A | 6.46963 |  | %
2 | ACC0001-XX | A0 | 890000139310 | IPK1 Fraktionen | 0110 | Review Analytical Chemistry | 800466462 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 24.08.2022 | 11:56:24 |  |  |  |  | A | no | no | [5 empty] | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 3.00000 |  | PC
2 | ACC0001-XX | A0 | 890000139310 | IPK1 Fraktionen | 2301 | Gravimetry / Evaporation Residue | 800466462 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 12 |  | 1 | 24.08.2022 | 11:56:24 | [288 empty] | A | 0.33098 |  | %
2 | ACC0001-XX | A0 | 890000139310 | IPK1 Fraktionen | 2301 | Gravimetry / Evaporation Residue | 800467976 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 1 |  | 1 | 06.09.2022 | 07:37:04 | [288 empty] | A | 11.00470 |  | %
2 | ACC0001-XX | A0 | 890000139310 | IPK1 Fraktionen | 2301 | Gravimetry / Evaporation Residue | 800467977 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | Z |  | 1 | 06.09.2022 | 07:37:23 | [288 empty] | A | 8.07322 |  | %
2 | ACC0001-XX | A0 | 890000139310 | IPK1 Fraktionen | 4000 | HPLC Purity | 800466462 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 1 |  | 1 | 24.08.2022 | 11:56:24 | [184 empty] | A | 2.53900 |  | mg/ml |  |  |  |  | A | 97.24000 | >= 95.0 | % | A | 2.76000 |  | %
2 | ACC0001-XX | A0 | 890000139310 | IPK1 Fraktionen | 4000 | HPLC Purity | 800467976 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 1 |  | 1 | 06.09.2022 | 07:37:35 | [184 empty] | A | 2.46150 |  | mg/ml |  |  |  |  | A | 97.80000 | >= 95.0 | % | A | 2.20000 |  | %
2 | ACC0001-XX | A0 | 890000139310 | IPK1 Fraktionen | 4000 | HPLC Purity | 800467977 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 2 |  | 1 | 06.09.2022 | 07:37:55 | [184 empty] | A | 2.52050 |  | mg/ml |  |  |  |  | A | 96.18000 | >= 95.0 | % | A | 3.82000 |  | %
1 | ACC0001-XX | A0 | 890000139311 | IPK2 vor Filtration |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [12 empty] | A | no | no |  |  |  | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 3.00000 |  | PC | [156 empty] | A | 2.49550 |  | mg/ml |  |  |  |  | A | 97.40000 | >= 95.0 | % | A | 2.60000 |  | % | [8 empty] | A | 25.43100 |  | mg/ml | A | 0.15466 | No specifications |  | A | 0.15541 | No specifications |  | A | 0.15503 | No specifications |  | A | 10.35362 | <= 320 | ppm | A | 985.06159 | <= 4000 | ppm | A | 0.01462 | No specifications |  | A | 0.01485 | No specifications |  | A | 0.01473 | No specifications |  | A | 0.43266 | <= 4000 | ppm | A | 512.89263 | <= 710 | ppm
2 | ACC0001-XX | A0 | 890000139311 | IPK2 vor Filtration | 0110 | Review Analytical Chemistry | 800466463 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 24.08.2022 | 11:57:41 |  |  |  |  | A | no | no | [5 empty] | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 3.00000 |  | PC
2 | ACC0001-XX | A0 | 890000139311 | IPK2 vor Filtration | 4000 | HPLC Purity | 800466463 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 1 |  | 1 | 24.08.2022 | 11:57:41 | [184 empty] | A | 2.49550 |  | mg/ml |  |  |  |  | A | 97.40000 | >= 95.0 | % | A | 2.60000 |  | %
2 | ACC0001-XX | A0 | 890000139311 | IPK2 vor Filtration | 4130 | Residual Solvents (GC-HS) | 800466463 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | R_ACC_007000037965 | 1 | 7000037965 | 1 | 24.08.2022 | 11:57:41 | [208 empty] | A | 24.93500 |  | mg/ml | A | 0.15466 | No specifications |  | A | 0.15541 | No specifications |  | A | 0.15503 | No specifications |  | A | 10.67237 | <= 320 | ppm | A | 989.99199 | <= 4000 | ppm | A | 0.01462 | No specifications |  | A | 0.01485 | No specifications |  | A | 0.01473 | No specifications |  | A | 0.47140 | <= 4000 | ppm | A | 514.03903 | <= 710 | ppm
2 | ACC0001-XX | A0 | 890000139311 | IPK2 vor Filtration | 4130 | Residual Solvents (GC-HS) | 800466463 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | R_ACC_007000037965 | 2 | 7000037965 | 2 | 24.08.2022 | 11:57:41 | [208 empty] | A | 25.92700 |  | mg/ml | A | 0.15466 | No specifications |  | A | 0.15541 | No specifications |  | A | 0.15503 | No specifications |  | A | 10.03487 | <= 320 | ppm | A | 980.13118 | <= 4000 | ppm | A | 0.01462 | No specifications |  | A | 0.01485 | No specifications |  | A | 0.01473 | No specifications |  | A | 0.39392 | <= 4000 | ppm | A | 511.74624 | <= 710 | ppm
1 | ACC0001-XX | A0 | 890000139312 | IPK3 vor Abfüllung |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [12 empty] | A | no | no |  |  |  | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 3.00000 |  | PC | [156 empty] | A | 2.50600 |  | mg/ml |  |  |  |  | A | 97.34000 | >= 95.0 | % | A | 2.66000 |  | % | [8 empty] | A | 25.68450 |  | mg/ml | A | 0.15447 | No specifications |  | A | 0.15454 | No specifications |  | A | 0.15451 | No specifications |  | A | 10.64615 | <= 320 | ppm | A | 211.13504 | <= 4000 | ppm | A | 0.01482 | No specifications |  | A | 0.01480 | No specifications |  | A | 0.01481 | No specifications |  | A | 0.20600 | <= 4000 | ppm | A | 96.89976 | <= 710 | ppm
2 | ACC0001-XX | A0 | 890000139312 | IPK3 vor Abfüllung | 0110 | Review Analytical Chemistry | 800466464 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 24.08.2022 | 11:58:37 |  |  |  |  | A | no | no | [5 empty] | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 3.00000 |  | PC
2 | ACC0001-XX | A0 | 890000139312 | IPK3 vor Abfüllung | 4000 | HPLC Purity | 800466464 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 1 |  | 1 | 24.08.2022 | 11:58:37 | [184 empty] | A | 2.50600 |  | mg/ml |  |  |  |  | A | 97.34000 | >= 95.0 | % | A | 2.66000 |  | %
2 | ACC0001-XX | A0 | 890000139312 | IPK3 vor Abfüllung | 4130 | Residual Solvents (GC-HS) | 800466464 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | R_ACC_007000038032 | 1 | 7000038032 | 1 | 24.08.2022 | 11:58:37 | [208 empty] | A | 25.10300 |  | mg/ml | A | 0.15447 | No specifications |  | A | 0.15454 | No specifications |  | A | 0.15451 | No specifications |  | A | 11.65117 | <= 320 | ppm | A | 211.20521 | <= 4000 | ppm | A | 0.01482 | No specifications |  | A | 0.01480 | No specifications |  | A | 0.01481 | No specifications |  | A | 0.20363 | <= 4000 | ppm | A | 97.20804 | <= 710 | ppm
2 | ACC0001-XX | A0 | 890000139312 | IPK3 vor Abfüllung | 4130 | Residual Solvents (GC-HS) | 800466464 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | R_ACC_007000038032 | 2 | 7000038032 | 2 | 24.08.2022 | 11:58:37 | [208 empty] | A | 26.26600 |  | mg/ml | A | 0.15447 | No specifications |  | A | 0.15454 | No specifications |  | A | 0.15451 | No specifications |  | A | 9.64113 | <= 320 | ppm | A | 211.06487 | <= 4000 | ppm | A | 0.01482 | No specifications |  | A | 0.01480 | No specifications |  | A | 0.01481 | No specifications |  | A | 0.20837 | <= 4000 | ppm | A | 96.59147 | <= 710 | ppm
1 | ACC0001-XX | A0 | 890000139313 | IPM1 Umsatz |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [12 empty] | A | no | no |  |  |  | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 3.00000 |  | PC | [156 empty] | A | 2.48850 |  | mg/ml |  |  |  |  | A | 76.34900 |  | % | A | 23.65100 |  | % | [88 empty] | A | 7.21749 |  | %
2 | ACC0001-XX | A0 | 890000139313 | IPM1 Umsatz | 0110 | Review Analytical Chemistry | 800466465 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 24.08.2022 | 11:59:41 |  |  |  |  | A | no | no | [5 empty] | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 3.00000 |  | PC
2 | ACC0001-XX | A0 | 890000139313 | IPM1 Umsatz | 2301 | Gravimetry / Evaporation Residue | 800466465 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | M |  | 1 | 24.08.2022 | 11:59:41 | [288 empty] | A | 7.21749 |  | %
2 | ACC0001-XX | A0 | 890000139313 | IPM1 Umsatz | 4000 | HPLC Purity | 800466465 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 1 |  | 1 | 24.08.2022 | 11:59:41 | [184 empty] | A | 2.48850 |  | mg/ml |  |  |  |  | A | 76.34900 |  | % | A | 23.65100 |  | %
1 | ACC0001-XX | A0 | 890000139314 | IPM2 Reinheit Rohprodukt |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [12 empty] | A | no | no |  |  |  | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 3.00000 |  | PC | [156 empty] | A | 2.57350 |  | mg/ml |  |  |  |  | A | 76.71400 |  | % | A | 23.28600 |  | %
2 | ACC0001-XX | A0 | 890000139314 | IPM2 Reinheit Rohprodukt | 0110 | Review Analytical Chemistry | 800466466 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 24.08.2022 | 12:00:49 |  |  |  |  | A | no | no | [5 empty] | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 3.00000 |  | PC
2 | ACC0001-XX | A0 | 890000139314 | IPM2 Reinheit Rohprodukt | 4000 | HPLC Purity | 800466466 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 2 |  | 1 | 24.08.2022 | 12:00:49 | [184 empty] | A | 2.57350 |  | mg/ml |  |  |  |  | A | 76.71400 |  | % | A | 23.28600 |  | %
1 | ACC0001-XX | A0 | 890000148054 | 3 Mte 5°C ALC-0366 Bulk |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [12 empty] | A | no | no |  |  |  | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 3.00000 |  | PC | [36 empty] | A | almost colorless | report data / appearance color |  | A | liquid | report data / appearance texture |  | A | clear | report data / appearance properties |  | A | 0.03235 | <= 2.0 | % | [104 empty] | A | 2.63325 |  | mg/ml | A | conforms to reference | conforms to reference |  | A | 97.59500 | >= 95.0 | % | A | 2.40500 | <= 5.0 | % | A | 97.58000 | 90 .. 110 | %
2 | ACC0001-XX | A0 | 890000148054 | 3 Mte 5°C ALC-0366 Bulk | 0110 | Review Analytical Chemistry | 800484161 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 02.02.2023 | 15:01:22 |  |  |  |  | A | no | no | [5 empty] | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 3.00000 |  | PC
2 | ACC0001-XX | A0 | 890000148054 | 3 Mte 5°C ALC-0366 Bulk | 1100 | Appearance | 800484161 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 02.02.2023 | 15:01:22 | [64 empty] | A | almost colorless | report data / appearance color |  | A | liquid | report data / appearance texture |  | A | clear | report data / appearance properties
2 | ACC0001-XX | A0 | 890000148054 | 3 Mte 5°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800484161 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000040235 | 1 | 7000040235 | 1 | 02.02.2023 | 15:01:22 | [76 empty] | A | 0.03190 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000148054 | 3 Mte 5°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800484161 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000040235 | 2 | 7000040235 | 2 | 02.02.2023 | 15:01:22 | [76 empty] | A | 0.03280 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000148054 | 3 Mte 5°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800484161 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 02.02.2023 | 15:01:22 | [184 empty] | A | 2.65950 |  | mg/ml | A | conforms to reference | conforms to reference |  | A | 97.59000 | >= 95.0 | % | A | 2.41000 | <= 5.0 | % | A | 97.66000 | 90 .. 110 | %
2 | ACC0001-XX | A0 | 890000148054 | 3 Mte 5°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800484161 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 2 | 02.02.2023 | 15:01:22 | [184 empty] | A | 2.60700 |  | mg/ml | A | conforms to reference | conforms to reference |  | A | 97.60000 | >= 95.0 | % | A | 2.40000 | <= 5.0 | % | A | 97.50000 | 90 .. 110 | %
1 | ACC0001-XX | A0 | 890000148055 | 3 Mte -20°C ALC-0366 Bulk |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [12 empty] | A | no | no |  |  |  | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 3.00000 |  | PC | [36 empty] | A | almost colorless | report data / appearance color |  | A | liquid | report data / appearance texture |  | A | clear | report data / appearance properties |  | A | 0.04265 | <= 2.0 | % | [104 empty] | A | 2.53000 |  | mg/ml | A | conforms to reference | conforms to reference |  | A | 97.55500 | >= 95.0 | % | A | 2.44500 | <= 5.0 | % | A | 98.52000 | 90 .. 110 | %
2 | ACC0001-XX | A0 | 890000148055 | 3 Mte -20°C ALC-0366 Bulk | 0110 | Review Analytical Chemistry | 800484162 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 02.02.2023 | 15:04:08 |  |  |  |  | A | no | no | [5 empty] | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 3.00000 |  | PC
2 | ACC0001-XX | A0 | 890000148055 | 3 Mte -20°C ALC-0366 Bulk | 1100 | Appearance | 800484162 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 02.02.2023 | 15:04:08 | [64 empty] | A | almost colorless | report data / appearance color |  | A | liquid | report data / appearance texture |  | A | clear | report data / appearance properties
2 | ACC0001-XX | A0 | 890000148055 | 3 Mte -20°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800484162 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000040235 | 1 | 7000040235 | 3 | 08.02.2023 | 15:22:35 | [76 empty] | A | 0.04190 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000148055 | 3 Mte -20°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800484162 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000040235 | 2 | 7000040235 | 4 | 08.02.2023 | 15:22:41 | [76 empty] | A | 0.04340 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000148055 | 3 Mte -20°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800484162 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 02.02.2023 | 15:04:08 | [184 empty] | A | 2.52250 |  | mg/ml | A | conforms to reference | conforms to reference |  | A | 97.53000 | >= 95.0 | % | A | 2.47000 | <= 5.0 | % | A | 98.99000 | 90 .. 110 | %
2 | ACC0001-XX | A0 | 890000148055 | 3 Mte -20°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800484162 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 2 | 02.02.2023 | 15:04:08 | [184 empty] | A | 2.53750 |  | mg/ml | A | conforms to reference | conforms to reference |  | A | 97.58000 | >= 95.0 | % | A | 2.42000 | <= 5.0 | % | A | 98.05000 | 90 .. 110 | %
1 | ACC0001-XX | A0 | 890000153534 | 6 Mte 5°C ALC-0366 Bulk |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [12 empty] | A | no | no |  |  |  | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 2.00000 |  | PC | [36 empty] | A | almost colorless | report data / appearance color |  | A | liquid | report data / appearance texture |  | A | clear | report data / appearance properties |  | A | 0.03555 | <= 2.0 | % | [104 empty] | A | 2.49025 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 98.44882 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.79721 |  | % | A | 0.65250 |  | % | A | 0.16919 |  | % | A | 0.12946 |  | % | A | 0.07178 |  | % | A | 0.06799 |  | % | A | 0.06627 |  | % | A | 0.05970 |  | % | A | 0.02620 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.04029 |  | % | A | 0.00000 |  | % | A | 2.04029 | <= 5.0 | % | A | 97.95971 | >= 95.0 | % | A | 0.96000 | No specifications |  | A | 0.02500 |  | %AREA | A | 0.98000 | No specifications |  | A | 0.17000 |  | %AREA | A | 0.98500 | No specifications |  | A | 0.13000 |  | %AREA | A | 1.03500 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.06000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.15000 | No specifications |  | A | 0.06000 |  | %AREA | A | 1.22000 | No specifications |  | A | 0.65500 |  | %AREA | A | 1.29000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.50000 | No specifications |  | A | 0.80000 |  | %AREA | A |  | No specifications |  | A |  |  | %AREA
2 | ACC0001-XX | A0 | 890000153534 | 6 Mte 5°C ALC-0366 Bulk | 0110 | Review Analytical Chemistry | 800494937 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 05.05.2023 | 10:12:09 |  |  |  |  | A | no | no | [5 empty] | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 2.00000 |  | PC
2 | ACC0001-XX | A0 | 890000153534 | 6 Mte 5°C ALC-0366 Bulk | 1100 | Appearance | 800494937 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 05.05.2023 | 10:12:09 | [64 empty] | A | almost colorless | report data / appearance color |  | A | liquid | report data / appearance texture |  | A | clear | report data / appearance properties
2 | ACC0001-XX | A0 | 890000153534 | 6 Mte 5°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800494937 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000041617 | 1 | 7000041617 | 1 | 05.05.2023 | 10:12:09 | [76 empty] | A | 0.03530 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000153534 | 6 Mte 5°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800494937 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000041617 | 2 | 7000041617 | 2 | 05.05.2023 | 10:12:09 | [76 empty] | A | 0.03580 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000153534 | 6 Mte 5°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800494937 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000041589 | 21 | 7000041589 | 1 | 05.05.2023 | 10:12:09 | [184 empty] | A | 2.54250 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 98.96139 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.79812 |  | % | A | 0.65830 |  | % | A | 0.16837 |  | % | A | 0.12881 |  | % | A | 0.07352 |  | % | A | 0.06841 |  | % | A | 0.06719 |  | % | A | 0.06004 |  | % | A | 0.05239 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.07515 |  | % | A | 0.00000 |  | % | A | 2.07515 | <= 5.0 | % | A | 97.92485 | >= 95.0 | % | A | 0.96000 | No specifications |  | A | 0.05000 |  | %AREA | A | 0.98000 | No specifications |  | A | 0.17000 |  | %AREA | A | 0.99000 | No specifications |  | A | 0.13000 |  | %AREA | A | 1.04000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.06000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.15000 | No specifications |  | A | 0.06000 |  | %AREA | A | 1.22000 | No specifications |  | A | 0.66000 |  | %AREA | A | 1.29000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.50000 | No specifications |  | A | 0.80000 |  | %AREA | A |  | No specifications |  | A |  |  | %AREA
2 | ACC0001-XX | A0 | 890000153534 | 6 Mte 5°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800494937 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000041589 | 22 | 7000041589 | 2 | 05.05.2023 | 10:12:09 | [184 empty] | A | 2.43800 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 97.93624 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.79629 |  | % | A | 0.64671 |  | % | A | 0.17000 |  | % | A | 0.13011 |  | % | A | 0.07004 |  | % | A | 0.06756 |  | % | A | 0.06535 |  | % | A | 0.05936 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.00542 |  | % | A | 0.00000 |  | % | A | 2.00542 | <= 5.0 | % | A | 97.99458 | >= 95.0 | % | A | 0.96000 | No specifications |  | A | 0.00000 |  | %AREA | A | 0.98000 | No specifications |  | A | 0.17000 |  | %AREA | A | 0.98000 | No specifications |  | A | 0.13000 |  | %AREA | A | 1.03000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.06000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.15000 | No specifications |  | A | 0.06000 |  | %AREA | A | 1.22000 | No specifications |  | A | 0.65000 |  | %AREA | A | 1.29000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.50000 | No specifications |  | A | 0.80000 |  | %AREA | A |  | No specifications |  | A |  |  | %AREA
1 | ACC0001-XX | A0 | 890000153535 | 6 Mte -20°C ALC-0366 Bulk |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [12 empty] | A | no | no |  |  |  | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 2.00000 |  | PC | [36 empty] | A | slightly colored | report data / appearance color |  | A | liquid | report data / appearance texture |  | A | clear | report data / appearance properties |  | A | 0.03715 | <= 2.0 | % | [104 empty] | A | 2.51200 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 97.63166 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.78708 |  | % | A | 0.66479 |  | % | A | 0.16097 |  | % | A | 0.13319 |  | % | A | 0.06706 |  | % | A | 0.06613 |  | % | A | 0.06293 |  | % | A | 0.05607 |  | % | A | 0.02545 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.02368 |  | % | A | 0.00000 |  | % | A | 2.02368 | <= 5.0 | % | A | 97.97632 | >= 95.0 | % | A | 0.98000 | No specifications |  | A | 0.16000 |  | %AREA | A | 0.98500 | No specifications |  | A | 0.13500 |  | %AREA | A | 0.97500 | No specifications |  | A | 0.02500 |  | %AREA | A | 1.03500 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.06000 | No specifications |  | A | 0.06500 |  | %AREA | A | 1.15000 | No specifications |  | A | 0.05500 |  | %AREA | A | 1.22000 | No specifications |  | A | 0.66500 |  | %AREA | A | 1.29000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.50000 | No specifications |  | A | 0.79000 |  | %AREA | A |  | No specifications |  | A |  |  | %AREA
2 | ACC0001-XX | A0 | 890000153535 | 6 Mte -20°C ALC-0366 Bulk | 0110 | Review Analytical Chemistry | 800494938 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 05.05.2023 | 10:15:56 |  |  |  |  | A | no | no | [5 empty] | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 2.00000 |  | PC
2 | ACC0001-XX | A0 | 890000153535 | 6 Mte -20°C ALC-0366 Bulk | 1100 | Appearance | 800494938 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 05.05.2023 | 10:15:56 | [64 empty] | A | slightly colored | report data / appearance color |  | A | liquid | report data / appearance texture |  | A | clear | report data / appearance properties
2 | ACC0001-XX | A0 | 890000153535 | 6 Mte -20°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800494938 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000041617 | 3 | 7000041617 | 1 | 05.05.2023 | 10:15:56 | [76 empty] | A | 0.03410 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000153535 | 6 Mte -20°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800494938 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000041617 | 4 | 7000041617 | 2 | 05.05.2023 | 10:15:56 | [76 empty] | A | 0.04020 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000153535 | 6 Mte -20°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800494938 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000041589 | 23 | 7000041589 | 1 | 05.05.2023 | 10:15:56 | [184 empty] | A | 2.53000 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 98.10244 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.78732 |  | % | A | 0.67295 |  | % | A | 0.16102 |  | % | A | 0.12749 |  | % | A | 0.06583 |  | % | A | 0.06530 |  | % | A | 0.06082 |  | % | A | 0.06069 |  | % | A | 0.05090 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.05231 |  | % | A | 0.00000 |  | % | A | 2.05231 | <= 5.0 | % | A | 97.94769 | >= 95.0 | % | A | 0.98000 | No specifications |  | A | 0.16000 |  | %AREA | A | 0.98000 | No specifications |  | A | 0.13000 |  | %AREA | A | 0.99000 | No specifications |  | A | 0.05000 |  | %AREA | A | 1.03000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.06000 | No specifications |  | A | 0.06000 |  | %AREA | A | 1.15000 | No specifications |  | A | 0.06000 |  | %AREA | A | 1.22000 | No specifications |  | A | 0.67000 |  | %AREA | A | 1.29000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.50000 | No specifications |  | A | 0.79000 |  | %AREA | A |  | No specifications |  | A |  |  | %AREA
2 | ACC0001-XX | A0 | 890000153535 | 6 Mte -20°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800494938 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000041589 | 24 | 7000041589 | 2 | 05.05.2023 | 10:15:56 | [184 empty] | A | 2.49400 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 97.16089 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.78684 |  | % | A | 0.65662 |  | % | A | 0.16093 |  | % | A | 0.13889 |  | % | A | 0.06830 |  | % | A | 0.06696 |  | % | A | 0.06504 |  | % | A | 0.05146 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 1.99505 |  | % | A | 0.00000 |  | % | A | 1.99505 | <= 5.0 | % | A | 98.00495 | >= 95.0 | % | A | 0.98000 | No specifications |  | A | 0.16000 |  | %AREA | A | 0.99000 | No specifications |  | A | 0.14000 |  | %AREA | A | 0.96000 | No specifications |  | A | 0.00000 |  | %AREA | A | 1.04000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.06000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.15000 | No specifications |  | A | 0.05000 |  | %AREA | A | 1.22000 | No specifications |  | A | 0.66000 |  | %AREA | A | 1.29000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.50000 | No specifications |  | A | 0.79000 |  | %AREA | A |  | No specifications |  | A |  |  | %AREA
1 | ACC0001-XX | A0 | 890000158842 | 9 Mte -20°C ALC-0366 Bulk |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [12 empty] | A | no | no |  |  |  | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 2.00000 |  | PC | [36 empty] | A | colorless | report data / appearance color |  | A | oil | report data / appearance texture |  | A | clear | report data / appearance properties |  | A | 0.05155 | <= 2.0 | % | [104 empty] | A | 2.55925 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 97.72651 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.86398 |  | % | A | 0.67276 |  | % | A | 0.15687 |  | % | A | 0.12409 |  | % | A | 0.06671 |  | % | A | 0.06532 |  | % | A | 0.06014 |  | % | A | 0.05405 |  | % | A | 0.04849 |  | % | A | 0.02335 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.13576 |  | % | A | 0.00000 |  | % | A | 2.13576 | <= 5.0 | % | A | 97.86424 | >= 95.0 | % | A | 0.97000 | No specifications |  | A | 0.05000 |  | %AREA | A | 0.98000 | No specifications |  | A | 0.16000 |  | %AREA | A | 0.99000 | No specifications |  | A | 0.12500 |  | %AREA | A | 1.03000 | No specifications |  | A | 0.05500 |  | %AREA | A | 1.06000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.20000 | No specifications |  | A | 0.67500 |  | %AREA | A | 1.27000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.47000 | No specifications |  | A | 0.86500 |  | %AREA | A | 1.49000 | No specifications |  | A | 0.06000 |  | %AREA | A |  | No specifications |  | A |  |  | %AREA
2 | ACC0001-XX | A0 | 890000158842 | 9 Mte -20°C ALC-0366 Bulk | 0110 | Review Analytical Chemistry | 800505263 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 04.08.2023 | 10:03:37 |  |  |  |  | A | no | no | [5 empty] | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 2.00000 |  | PC
2 | ACC0001-XX | A0 | 890000158842 | 9 Mte -20°C ALC-0366 Bulk | 1100 | Appearance | 800505263 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 04.08.2023 | 10:03:37 | [64 empty] | A | colorless | report data / appearance color |  | A | oil | report data / appearance texture |  | A | clear | report data / appearance properties
2 | ACC0001-XX | A0 | 890000158842 | 9 Mte -20°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800505263 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000043195 | 1 | 7000043195 | 1 | 04.08.2023 | 10:03:37 | [76 empty] | A | 0.04810 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000158842 | 9 Mte -20°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800505263 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000043195 | 2 | 7000043195 | 2 | 04.08.2023 | 10:03:37 | [76 empty] | A | 0.05500 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000158842 | 9 Mte -20°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800505263 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000043072 | 24 | 7000043072 | 1 | 04.08.2023 | 10:03:37 | [184 empty] | A | 2.59000 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 96.27587 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.85258 |  | % | A | 0.66688 |  | % | A | 0.15681 |  | % | A | 0.12299 |  | % | A | 0.06818 |  | % | A | 0.06564 |  | % | A | 0.05532 |  | % | A | 0.05462 |  | % | A | 0.04564 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.08867 |  | % | A | 0.00000 |  | % | A | 2.08867 | <= 5.0 | % | A | 97.91133 | >= 95.0 | % | A | 0.97000 | No specifications |  | A | 0.05000 |  | %AREA | A | 0.98000 | No specifications |  | A | 0.16000 |  | %AREA | A | 0.99000 | No specifications |  | A | 0.12000 |  | %AREA | A | 1.03000 | No specifications |  | A | 0.06000 |  | %AREA | A | 1.06000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.20000 | No specifications |  | A | 0.67000 |  | %AREA | A | 1.27000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.47000 | No specifications |  | A | 0.85000 |  | %AREA | A | 1.49000 | No specifications |  | A | 0.05000 |  | %AREA | A |  | No specifications |  | A |  |  | %AREA
2 | ACC0001-XX | A0 | 890000158842 | 9 Mte -20°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800505263 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000043072 | 25 | 7000043072 | 2 | 04.08.2023 | 10:03:37 | [184 empty] | A | 2.52850 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 99.17716 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.87538 |  | % | A | 0.67863 |  | % | A | 0.15692 |  | % | A | 0.12519 |  | % | A | 0.06524 |  | % | A | 0.06500 |  | % | A | 0.06496 |  | % | A | 0.05347 |  | % | A | 0.05134 |  | % | A | 0.04671 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.18285 |  | % | A | 0.00000 |  | % | A | 2.18285 | <= 5.0 | % | A | 97.81715 | >= 95.0 | % | A | 0.97000 | No specifications |  | A | 0.05000 |  | %AREA | A | 0.98000 | No specifications |  | A | 0.16000 |  | %AREA | A | 0.99000 | No specifications |  | A | 0.13000 |  | %AREA | A | 1.03000 | No specifications |  | A | 0.05000 |  | %AREA | A | 1.06000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.20000 | No specifications |  | A | 0.68000 |  | %AREA | A | 1.27000 | No specifications |  | A | 0.07000 |  | %AREA | A | 1.47000 | No specifications |  | A | 0.88000 |  | %AREA | A | 1.49000 | No specifications |  | A | 0.07000 |  | %AREA | A |  | No specifications |  | A |  |  | %AREA
1 | ACC0001-XX | A0 | 890000164261 | 12 Mte, -20°C, ALC-0366 Bulk |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [12 empty] | A | no | no |  |  |  | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 2.00000 |  | PC | [36 empty] | A | almost colorless | report data / appearance color |  | A | oil | report data / appearance texture |  | A | clear | report data / appearance properties |  | A | 0.03785 | <= 2.0 | % | [104 empty] | A | 2.60425 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 99.52296 | 90 .. 110 | % | [48 empty] | A | 1507.50000 | 1.5 | mg/ml | A | 0.00667 | <= 0.20 | EU/mg | A | 6.67000 |  | EU/g | A | 5.00000 | <= 100 | CFU/g | A | 5.00000 | <= 100 | CFU/g | [20 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.86191 |  | % | A | 0.69123 |  | % | A | 0.13722 |  | % | A | 0.13439 |  | % | A | 0.09697 |  | % | A | 0.07114 |  | % | A | 0.06762 |  | % | A | 0.05771 |  | % | A | 0.05253 |  | % | A | 0.05111 |  | % | A | 0.05066 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.22184 |  | % | A | 0.05066 |  | % | A | 2.27250 | <= 5.0 | % | A | 97.72750 | >= 95.0 | % | A | 0.96000 | No specifications |  | A | 0.05050 |  | % | A | 0.98000 | No specifications |  | A | 0.13400 |  | % | A | 0.99000 | No specifications |  | A | 0.13750 |  | % | A | 1.03000 | No specifications |  | A | 0.05600 |  | % | A | 1.06000 | No specifications |  | A | 0.06950 |  | % | A | 1.14000 | No specifications |  | A | 0.05300 |  | % | A | 1.21000 | No specifications |  | A | 0.69100 |  | % | A | 1.27000 | No specifications |  | A | 0.06900 |  | % | A | 1.48000 | No specifications |  | A | 0.86200 |  | % | A | 1.50000 | No specifications |  | A | 0.09700 |  | %
2 | ACC0001-XX | A0 | 890000164261 | 12 Mte, -20°C, ALC-0366 Bulk | 0110 | Review Analytical Chemistry | 800516004 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 01.11.2023 | 16:30:21 |  |  |  |  | A | no | no | [5 empty] | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 2.00000 |  | PC
2 | ACC0001-XX | A0 | 890000164261 | 12 Mte, -20°C, ALC-0366 Bulk | 1100 | Appearance | 800516004 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 01.11.2023 | 16:30:21 | [64 empty] | A | almost colorless | report data / appearance color |  | A | oil | report data / appearance texture |  | A | clear | report data / appearance properties
2 | ACC0001-XX | A0 | 890000164261 | 12 Mte, -20°C, ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800516004 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000044311 | 3 | 7000044311 | 1 | 01.11.2023 | 16:30:21 | [76 empty] | A | 0.03840 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000164261 | 12 Mte, -20°C, ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800516004 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000044311 | 4 | 7000044311 | 2 | 01.11.2023 | 16:30:21 | [76 empty] | A | 0.03730 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000164261 | 12 Mte, -20°C, ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800516004 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000044349 | 22 | 7000044349 | 1 | 01.11.2023 | 16:30:21 | [184 empty] | A | 2.58200 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 99.37447 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.86390 |  | % | A | 0.69698 |  | % | A | 0.14255 |  | % | A | 0.14049 |  | % | A | 0.09133 |  | % | A | 0.07299 |  | % | A | 0.07024 |  | % | A | 0.06286 |  | % | A | 0.05604 |  | % | A | 0.05328 |  | % | A | 0.05315 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.25065 |  | % | A | 0.05315 |  | % | A | 2.30380 | <= 5.0 | % | A | 97.69620 | >= 95.0 | % | A | 0.96000 | No specifications |  | A | 0.05300 |  | % | A | 0.98000 | No specifications |  | A | 0.14000 |  | % | A | 0.99000 | No specifications |  | A | 0.14300 |  | % | A | 1.03000 | No specifications |  | A | 0.06300 |  | % | A | 1.06000 | No specifications |  | A | 0.07000 |  | % | A | 1.14000 | No specifications |  | A | 0.05300 |  | % | A | 1.21000 | No specifications |  | A | 0.69700 |  | % | A | 1.27000 | No specifications |  | A | 0.07300 |  | % | A | 1.48000 | No specifications |  | A | 0.86400 |  | % | A | 1.50000 | No specifications |  | A | 0.09100 |  | %
2 | ACC0001-XX | A0 | 890000164261 | 12 Mte, -20°C, ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800516004 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000044349 | 23 | 7000044349 | 2 | 01.11.2023 | 16:30:21 | [184 empty] | A | 2.62650 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 99.67145 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.85991 |  | % | A | 0.68548 |  | % | A | 0.13190 |  | % | A | 0.12829 |  | % | A | 0.10262 |  | % | A | 0.06930 |  | % | A | 0.06501 |  | % | A | 0.05256 |  | % | A | 0.04901 |  | % | A | 0.04894 |  | % | A | 0.04817 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.19303 |  | % | A | 0.04817 |  | % | A | 2.24120 | <= 5.0 | % | A | 97.75880 | >= 95.0 | % | A | 0.96000 | No specifications |  | A | 0.04800 |  | % | A | 0.98000 | No specifications |  | A | 0.12800 |  | % | A | 0.99000 | No specifications |  | A | 0.13200 |  | % | A | 1.03000 | No specifications |  | A | 0.04900 |  | % | A | 1.06000 | No specifications |  | A | 0.06900 |  | % | A | 1.14000 | No specifications |  | A | 0.05300 |  | % | A | 1.21000 | No specifications |  | A | 0.68500 |  | % | A | 1.27000 | No specifications |  | A | 0.06500 |  | % | A | 1.48000 | No specifications |  | A | 0.86000 |  | % | A | 1.50000 | No specifications |  | A | 0.10300 |  | %
2 | ACC0001-XX | A0 | 890000164261 | 12 Mte, -20°C, ALC-0366 Bulk | 5000 | Endotoxine | 800516005 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 2 | 7000044463 | 1 | 01.11.2023 | 16:30:21 | [252 empty] | A | 1507.50000 | 1.5 | mg/ml | A | 0.00667 | <= 0.20 | EU/mg | A | 6.67000 |  | EU/g
2 | ACC0001-XX | A0 | 890000164261 | 12 Mte, -20°C, ALC-0366 Bulk | 5010 | TAMC & TYMC | 800516005 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 2 | 7000044352 | 1 | 01.11.2023 | 16:30:21 | [264 empty] | A | 5.00000 | <= 100 | CFU/g | A | 5.00000 | <= 100 | CFU/g
1 | ACC0001-XX | A0 | 890000164262 | 12 Mte, 5°C, ALC-0366 Bulk |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [12 empty] | A | no | no |  |  |  | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 2.00000 |  | PC | [36 empty] | A | almost colorless | report data / appearance color |  | A | oil | report data / appearance texture |  | A | clear | report data / appearance properties |  | A | 0.03915 | <= 2.0 | % | [104 empty] | A | 2.46650 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 98.87754 | 90 .. 110 | % | [48 empty] | A | 1505.00000 | 1.5 | mg/ml | A | 0.00667 | <= 0.20 | EU/mg | A | 6.67000 |  | EU/g | A | 5.00000 | <= 100 | CFU/g | A | 5.00000 | <= 100 | CFU/g | [20 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.85879 |  | % | A | 0.69400 |  | % | A | 0.13781 |  | % | A | 0.12419 |  | % | A | 0.10029 |  | % | A | 0.07446 |  | % | A | 0.06778 |  | % | A | 0.06203 |  | % | A | 0.05372 |  | % | A | 0.02463 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.19770 |  | % | A | 0.00000 |  | % | A | 2.19770 | <= 5.0 | % | A | 97.80230 | >= 95.0 | % | A | 0.98000 | No specifications |  | A | 0.13750 |  | % | A | 0.99000 | No specifications |  | A | 0.12400 |  | % | A | 0.99000 | No specifications |  | A | 0.05350 |  | % | A | 1.03000 | No specifications |  | A | 0.06200 |  | % | A | 1.06000 | No specifications |  | A | 0.06800 |  | % | A | 1.21000 | No specifications |  | A | 0.69400 |  | % | A | 1.27000 | No specifications |  | A | 0.07450 |  | % | A | 1.48000 | No specifications |  | A | 0.85900 |  | % | A | 1.50000 | No specifications |  | A | 0.10050 |  | % | A |  | No specifications |  | A |  |  | %
2 | ACC0001-XX | A0 | 890000164262 | 12 Mte, 5°C, ALC-0366 Bulk | 0110 | Review Analytical Chemistry | 800516006 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 01.11.2023 | 16:31:25 |  |  |  |  | A | no | no | [5 empty] | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 2.00000 |  | PC
2 | ACC0001-XX | A0 | 890000164262 | 12 Mte, 5°C, ALC-0366 Bulk | 1100 | Appearance | 800516006 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 01.11.2023 | 16:31:25 | [64 empty] | A | almost colorless | report data / appearance color |  | A | oil | report data / appearance texture |  | A | clear | report data / appearance properties
2 | ACC0001-XX | A0 | 890000164262 | 12 Mte, 5°C, ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800516006 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000044311 | 5 | 7000044311 | 1 | 01.11.2023 | 16:31:25 | [76 empty] | A | 0.03920 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000164262 | 12 Mte, 5°C, ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800516006 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000044311 | 6 | 7000044311 | 2 | 01.11.2023 | 16:31:25 | [76 empty] | A | 0.03910 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000164262 | 12 Mte, 5°C, ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800516006 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000044349 | 24 | 7000044349 | 1 | 01.11.2023 | 16:31:25 | [184 empty] | A | 2.49200 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 98.49299 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.85269 |  | % | A | 0.68754 |  | % | A | 0.13727 |  | % | A | 0.13206 |  | % | A | 0.11193 |  | % | A | 0.07191 |  | % | A | 0.06580 |  | % | A | 0.06280 |  | % | A | 0.04932 |  | % | A | 0.04927 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.22059 |  | % | A | 0.00000 |  | % | A | 2.22059 | <= 5.0 | % | A | 97.77941 | >= 95.0 | % | A | 0.98000 | No specifications |  | A | 0.13700 |  | % | A | 0.99000 | No specifications |  | A | 0.13200 |  | % | A | 0.99000 | No specifications |  | A | 0.04900 |  | % | A | 1.03000 | No specifications |  | A | 0.06300 |  | % | A | 1.06000 | No specifications |  | A | 0.06600 |  | % | A | 1.21000 | No specifications |  | A | 0.68800 |  | % | A | 1.27000 | No specifications |  | A | 0.07200 |  | % | A | 1.48000 | No specifications |  | A | 0.85300 |  | % | A | 1.50000 | No specifications |  | A | 0.11200 |  | % | A |  | No specifications |  | A |  |  | %
2 | ACC0001-XX | A0 | 890000164262 | 12 Mte, 5°C, ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800516006 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000044349 | 25 | 7000044349 | 2 | 01.11.2023 | 16:31:25 | [184 empty] | A | 2.44100 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 99.26209 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.86489 |  | % | A | 0.70045 |  | % | A | 0.13835 |  | % | A | 0.11631 |  | % | A | 0.08865 |  | % | A | 0.07701 |  | % | A | 0.06976 |  | % | A | 0.06126 |  | % | A | 0.05811 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.17480 |  | % | A | 0.00000 |  | % | A | 2.17480 | <= 5.0 | % | A | 97.82520 | >= 95.0 | % | A | 0.98000 | No specifications |  | A | 0.13800 |  | % | A | 0.99000 | No specifications |  | A | 0.11600 |  | % | A | 0.99000 | No specifications |  | A | 0.05800 |  | % | A | 1.03000 | No specifications |  | A | 0.06100 |  | % | A | 1.06000 | No specifications |  | A | 0.07000 |  | % | A | 1.21000 | No specifications |  | A | 0.70000 |  | % | A | 1.27000 | No specifications |  | A | 0.07700 |  | % | A | 1.48000 | No specifications |  | A | 0.86500 |  | % | A | 1.50000 | No specifications |  | A | 0.08900 |  | % | A |  | No specifications |  | A |  |  | %
2 | ACC0001-XX | A0 | 890000164262 | 12 Mte, 5°C, ALC-0366 Bulk | 5000 | Endotoxine | 800516007 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 1 | 7000044463 | 1 | 01.11.2023 | 16:31:25 | [252 empty] | A | 1505.00000 | 1.5 | mg/ml | A | 0.00667 | <= 0.20 | EU/mg | A | 6.67000 |  | EU/g
2 | ACC0001-XX | A0 | 890000164262 | 12 Mte, 5°C, ALC-0366 Bulk | 5010 | TAMC & TYMC | 800516007 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 3 | 7000044352 | 1 | 01.11.2023 | 16:31:25 | [264 empty] | A | 5.00000 | <= 100 | CFU/g | A | 5.00000 | <= 100 | CFU/g
1 | ACC0001-XX | A0 | 890000173961 | 18 Mte -20°C ALC-0366 Bulk |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [12 empty] | R | yes | no |  | A | not confirmed | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 2.00000 |  | PC | [36 empty] | A | colorless | report data / appearance color |  | A | oil | report data / appearance texture |  | A | clear | report data / appearance properties |  | A | 0.04355 | <= 2.0 | % | [104 empty] | A | 2.48850 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 97.64380 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.95862 |  | % | A | 0.76277 |  | % | A | 0.18743 |  | % | A | 0.13158 |  | % | A | 0.11348 |  | % | A | 0.10223 |  | % | A | 0.08797 |  | % | A | 0.08495 |  | % | A | 0.07548 |  | % | A | 0.06925 |  | % | A | 0.06021 |  | % | A | 0.05539 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.57377 |  | % | A | 0.11561 |  | % | A | 2.68937 | <= 5.0 | % | A | 97.31063 | >= 95.0 | % | A | 0.96000 | No specifications |  | A | 0.05540 |  | % | A | 0.98000 | No specifications |  | A | 0.18745 |  | % | A | 0.99000 | No specifications |  | A | 0.13155 |  | % | A | 0.99000 | No specifications |  | A | 0.07270 |  | % | A | 1.03000 | No specifications |  | A | 0.08800 |  | % | A | 1.06000 | No specifications |  | A | 0.08495 |  | % | A | 1.14000 | No specifications |  | A | 0.07205 |  | % | A | 1.20000 | No specifications |  | A | 0.76275 |  | % | A | 1.27000 | No specifications |  | A | 0.10220 |  | % | A | 1.35000 | No specifications |  | A | 0.06020 |  | %
2 | ACC0001-XX | A0 | 890000173961 | 18 Mte -20°C ALC-0366 Bulk | 0110 | Review Analytical Chemistry | 800536911 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 06.05.2024 | 09:30:30 |  |  |  |  | R | yes | no |  | A | not confirmed | verification not confirmed |  | A | no | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 2.00000 |  | PC
2 | ACC0001-XX | A0 | 890000173961 | 18 Mte -20°C ALC-0366 Bulk | 1100 | Appearance | 800536911 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 06.05.2024 | 09:30:30 | [64 empty] | A | colorless | report data / appearance color |  | A | oil | report data / appearance texture |  | A | clear | report data / appearance properties
2 | ACC0001-XX | A0 | 890000173961 | 18 Mte -20°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800536911 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000046884 | 1 | 7000046884 | 1 | 06.05.2024 | 09:30:30 | [76 empty] | A | 0.04660 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000173961 | 18 Mte -20°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800536911 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000046884 | 2 | 7000046884 | 2 | 06.05.2024 | 09:30:30 | [76 empty] | A | 0.04050 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000173961 | 18 Mte -20°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800536911 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000047370 | 33 | 7000047370 | 3 | 18.06.2024 | 07:53:44 | [184 empty] | A | 2.51350 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 97.90318 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.95983 |  | % | A | 0.77051 |  | % | A | 0.19438 |  | % | A | 0.12493 |  | % | A | 0.11601 |  | % | A | 0.10491 |  | % | A | 0.08728 |  | % | A | 0.08601 |  | % | A | 0.08136 |  | % | A | 0.07453 |  | % | A | 0.06442 |  | % | A | 0.05807 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.59976 |  | % | A | 0.12249 |  | % | A | 2.72225 | <= 5.0 | % | A | 97.27775 | >= 95.0 | % | A | 0.96000 | No specifications |  | A | 0.05810 |  | % | A | 0.98000 | No specifications |  | A | 0.19440 |  | % | A | 0.99000 | No specifications |  | A | 0.12490 |  | % | A | 0.99000 | No specifications |  | A | 0.08140 |  | % | A | 1.03000 | No specifications |  | A | 0.08730 |  | % | A | 1.06000 | No specifications |  | A | 0.08600 |  | % | A | 1.14000 | No specifications |  | A | 0.07450 |  | % | A | 1.20000 | No specifications |  | A | 0.77050 |  | % | A | 1.27000 | No specifications |  | A | 0.10490 |  | % | A | 1.35000 | No specifications |  | A | 0.06440 |  | %
2 | ACC0001-XX | A0 | 890000173961 | 18 Mte -20°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800536911 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000047370 | 34 | 7000047370 | 4 | 18.06.2024 | 07:54:04 | [184 empty] | A | 2.46350 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 97.38442 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.95741 |  | % | A | 0.75503 |  | % | A | 0.18048 |  | % | A | 0.13824 |  | % | A | 0.11096 |  | % | A | 0.09955 |  | % | A | 0.08866 |  | % | A | 0.08389 |  | % | A | 0.06960 |  | % | A | 0.06397 |  | % | A | 0.05600 |  | % | A | 0.05272 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.54778 |  | % | A | 0.10872 |  | % | A | 2.65650 | <= 5.0 | % | A | 97.34350 | >= 95.0 | % | A | 0.96000 | No specifications |  | A | 0.05270 |  | % | A | 0.98000 | No specifications |  | A | 0.18050 |  | % | A | 0.99000 | No specifications |  | A | 0.13820 |  | % | A | 0.99000 | No specifications |  | A | 0.06400 |  | % | A | 1.03000 | No specifications |  | A | 0.08870 |  | % | A | 1.06000 | No specifications |  | A | 0.08390 |  | % | A | 1.14000 | No specifications |  | A | 0.06960 |  | % | A | 1.20000 | No specifications |  | A | 0.75500 |  | % | A | 1.27000 | No specifications |  | A | 0.09950 |  | % | A | 1.35000 | No specifications |  | A | 0.05600 |  | %
1 | ACC0001-XX | A0 | 890000183191 | 24 Mte -20°C ALC-0366 Bulk |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [12 empty] | A | no | no |  |  |  | verification not confirmed |  | R | yes | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 2.00000 |  | PC | [36 empty] | A | colorless | report data / appearance color |  | A | oily liquid | report data / appearance texture |  | A | clear | report data / appearance properties |  | A | 0.06370 | <= 2.0 | % | [104 empty] | A | 2.50650 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 97.35338 | 90 .. 110 | % | [48 empty] | A | 1.50438 | 1.5 | mg/ml | A | 0.00667 | <= 0.20 | EU/mg |  |  |  |  | A | 5.00000 | <= 100 | CFU/g | A | 5.00000 | <= 100 | CFU/g | [20 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.81509 |  | % | A | 0.62147 |  | % | A | 0.16517 |  | % | A | 0.14568 |  | % | A | 0.08857 |  | % | A | 0.07629 |  | % | A | 0.06985 |  | % | A | 0.03468 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.01680 |  | % | A | 0.00000 |  | % | A | 2.01680 | <= 5.0 | % | A | 97.98320 | >= 95.0 | % | A | 0.98000 | No specifications |  | A | 0.14715 |  | % | A | 0.99000 | No specifications |  | A | 0.16370 |  | % | A | 1.04000 | No specifications |  | A | 0.07630 |  | % | A | 1.22000 | No specifications |  | A | 0.62145 |  | % | A | 1.29000 | No specifications |  | A | 0.06900 |  | % | A | 1.51000 | No specifications |  | A | 0.81510 |  | % | A | 1.53000 | No specifications |  | A | 0.08470 |  | % | A |  | No specifications |  | A |  |  | % | A |  | No specifications |  | A |  |  | % | A |  | No specifications |  | A |  |  | % | A | 0.02001 | <= 0.20 | EU/mg
2 | ACC0001-XX | A0 | 890000183191 | 24 Mte -20°C ALC-0366 Bulk | 0110 | Review Analytical Chemistry | 800558620 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 06.11.2024 | 10:00:53 |  |  |  |  | A | no | no | [5 empty] | R | yes | no |  | A | no | no |  | A | documents archived | documents archived |  | A | 2.00000 |  | PC
2 | ACC0001-XX | A0 | 890000183191 | 24 Mte -20°C ALC-0366 Bulk | 1100 | Appearance | 800558620 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 06.11.2024 | 10:00:53 | [64 empty] | A | colorless | report data / appearance color |  | A | oily liquid | report data / appearance texture |  | A | clear | report data / appearance properties
2 | ACC0001-XX | A0 | 890000183191 | 24 Mte -20°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800558620 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000049347 | 8 | 7000049347 | 1 | 06.11.2024 | 10:00:53 | [76 empty] | A | 0.06230 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000183191 | 24 Mte -20°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800558620 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000049347 | 9 | 7000049347 | 2 | 06.11.2024 | 10:00:53 | [76 empty] | A | 0.06510 | <= 2.0 | %
2 | ACC0001-XX | A0 | 890000183191 | 24 Mte -20°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800558620 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000049276 | 22 | 7000049276 | 1 | 06.11.2024 | 10:00:53 | [184 empty] | A | 2.53300 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 97.30632 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.80398 |  | % | A | 0.62683 |  | % | A | 0.17342 |  | % | A | 0.13738 |  | % | A | 0.07889 |  | % | A | 0.07427 |  | % | A | 0.07114 |  | % | A | 0.06935 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.03527 |  | % | A | 0.00000 |  | % | A | 2.03527 | <= 5.0 | % | A | 97.96473 | >= 95.0 | % | A | 0.98000 | No specifications |  | A | 0.13740 |  | % | A | 0.99000 | No specifications |  | A | 0.17340 |  | % | A | 1.04000 | No specifications |  | A | 0.07430 |  | % | A | 1.22000 | No specifications |  | A | 0.62680 |  | % | A | 1.29000 | No specifications |  | A | 0.06940 |  | % | A | 1.51000 | No specifications |  | A | 0.80400 |  | % | A | 1.53000 | No specifications |  | A | 0.07110 |  | % | A |  | No specifications |  | A |  |  | % | A |  | No specifications |  | A |  |  | % | A |  | No specifications |  | A |  |  | %
2 | ACC0001-XX | A0 | 890000183191 | 24 Mte -20°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800558620 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000049276 | 23 | 7000049276 | 2 | 06.11.2024 | 10:00:53 | [184 empty] | A | 2.48000 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 97.40044 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.82620 |  | % | A | 0.61611 |  | % | A | 0.15692 |  | % | A | 0.15397 |  | % | A | 0.09826 |  | % | A | 0.07831 |  | % | A | 0.06855 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 1.99833 |  | % | A | 0.00000 |  | % | A | 1.99833 | <= 5.0 | % | A | 98.00167 | >= 95.0 | % | A | 0.98000 | No specifications |  | A | 0.15690 |  | % | A | 0.99000 | No specifications |  | A | 0.15400 |  | % | A | 1.04000 | No specifications |  | A | 0.07830 |  | % | A | 1.22000 | No specifications |  | A | 0.61610 |  | % | A | 1.29000 | No specifications |  | A | 0.06860 |  | % | A | 1.51000 | No specifications |  | A | 0.82620 |  | % | A | 1.53000 | No specifications |  | A | 0.09830 |  | % | A |  | No specifications |  | A |  |  | % | A |  | No specifications |  | A |  |  | % | A |  | No specifications |  | A |  |  | %
2 | ACC0001-XX | A0 | 890000183191 | 24 Mte -20°C ALC-0366 Bulk | 5000 | Endotoxine | 800558621 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 1 |  | 1 | 06.11.2024 | 10:00:53 | [252 empty] | A | 1.50375 | 1.5 | mg/ml | A | 0.00667 | <= 0.20 | EU/mg | [228 empty] | A | 0.02001 | <= 0.20 | EU/mg
2 | ACC0001-XX | A0 | 890000183191 | 24 Mte -20°C ALC-0366 Bulk | 5000 | Endotoxine | 800558621 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 1 | 7000049461 | 2 | 21.11.2024 | 09:30:27 | [252 empty] | A | 1.50500 | 1.5 | mg/ml | A | 0.00667 | <= 0.20 | EU/mg | [228 empty] | A | 0.02001 | <= 0.20 | EU/mg
2 | ACC0001-XX | A0 | 890000183191 | 24 Mte -20°C ALC-0366 Bulk | 5010 | TAMC & TYMC | 800558621 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 1 | 7000049274 | 1 | 06.11.2024 | 10:00:53 | [264 empty] | A | 5.00000 | <= 100 | CFU/g | A | 5.00000 | <= 100 | CFU/g
1 | ACC0001-XX |  | 890000201628 | 36 Mte -20°C ALC-0366 Bulk |  |  |  |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [14 empty] | no |  |  |  | verification not confirmed |  |  |  | no |  |  |  | no |  |  |  | documents archived |  |  |  |  | PC | [36 empty] | A | colorless | report data / appearance color |  | A | oily liquid | report data / appearance texture |  | A | clear | report data / appearance properties |  | A | 0.05305 | <= 2.0 | % | [104 empty] | A | 2.59375 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 97.46222 | 90 .. 110 | % | [48 empty] | A | 1.51875 | 1.5 | mg/ml | A | 0.06670 | <= 0.20 | EU/mg | [6 empty] | <= 100 | CFU/g |  |  | <= 100 | CFU/g | [20 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.87618 |  | % | A | 0.68914 |  | % | A | 0.18153 |  | % | A | 0.16380 |  | % | A | 0.08333 |  | % | A | 0.07673 |  | % | A | 0.07036 |  | % | A | 0.06691 |  | % | A | 0.05180 |  | % | A | 0.02531 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.28509 |  | % | A | 0.00000 |  | % | A | 2.28509 | <= 5.0 | % | A | 97.71491 | >= 95.0 | % | A | 1.46500 | No specifications |  | A | 0.87500 |  | % | A | 1.20000 | No specifications |  | A | 0.69000 |  | % | A | 0.99000 | No specifications |  | A | 0.18000 |  | % | A | 0.98000 | No specifications |  | A | 0.16000 |  | % | A | 1.48500 | No specifications |  | A | 0.08000 |  | % | A | 1.26500 | No specifications |  | A | 0.08000 |  | % | A | 1.03000 | No specifications |  | A | 0.07000 |  | % | A | 1.06000 | No specifications |  | A | 0.06500 |  | % | A | 1.05500 | No specifications |  | A | 0.05000 |  | % | A |  | No specifications |  | A |  |  | % | A | 0.20010 | <= 0.20 | EU/mg
2 | ACC0001-XX |  | 890000201628 | 36 Mte -20°C ALC-0366 Bulk | 0110 | Review Analytical Chemistry | 800600011 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 04.11.2025 | 07:43:36
2 | ACC0001-XX |  | 890000201628 | 36 Mte -20°C ALC-0366 Bulk | 1100 | Appearance | 800600011 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 | [5 empty] | 1 | 04.11.2025 | 07:43:36 | [64 empty] | A | colorless | report data / appearance color |  | A | oily liquid | report data / appearance texture |  | A | clear | report data / appearance properties
2 | ACC0001-XX |  | 890000201628 | 36 Mte -20°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800600011 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000054156 | 5 | 7000054156 | 1 | 04.11.2025 | 07:43:36 | [76 empty] | A | 0.05260 | <= 2.0 | %
2 | ACC0001-XX |  | 890000201628 | 36 Mte -20°C ALC-0366 Bulk | 2400 | Watercontent (KF) Coulometric | 800600011 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | 000000007000054156 | 6 | 7000054156 | 2 | 04.11.2025 | 07:43:36 | [76 empty] | A | 0.05350 | <= 2.0 | %
2 | ACC0001-XX |  | 890000201628 | 36 Mte -20°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800600011 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000054161 | 20 | 7000054161 | 1 | 04.11.2025 | 07:43:36 | [184 empty] | A | 2.46750 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 96.97014 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.87162 |  | % | A | 0.67625 |  | % | A | 0.18369 |  | % | A | 0.16495 |  | % | A | 0.08363 |  | % | A | 0.07776 |  | % | A | 0.07253 |  | % | A | 0.06924 |  | % | A | 0.05286 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.25254 |  | % | A | 0.00000 |  | % | A | 2.25254 | <= 5.0 | % | A | 97.74746 | >= 95.0 | % | A | 1.46000 | No specifications |  | A | 0.87000 |  | % | A | 1.20000 | No specifications |  | A | 0.68000 |  | % | A | 0.99000 | No specifications |  | A | 0.18000 |  | % | A | 0.98000 | No specifications |  | A | 0.16000 |  | % | A | 1.48000 | No specifications |  | A | 0.08000 |  | % | A | 1.26000 | No specifications |  | A | 0.08000 |  | % | A | 1.03000 | No specifications |  | A | 0.07000 |  | % | A | 1.06000 | No specifications |  | A | 0.07000 |  | % | A | 0.97000 | No specifications |  | A | 0.05000 |  | % | A |  | No specifications |  | A |  |  | %
2 | ACC0001-XX |  | 890000201628 | 36 Mte -20°C ALC-0366 Bulk | 4000 | HPLC Purity & Assay | 800600011 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  | ACC_A_007000054161 | 21 | 7000054161 | 2 | 04.11.2025 | 07:43:36 | [184 empty] | A | 2.72000 |  | mg/ml | A | conforms to reference | conforms to reference | [9 empty] | A | 97.95431 | 90 .. 110 | % | [88 empty] | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.88074 |  | % | A | 0.70204 |  | % | A | 0.17936 |  | % | A | 0.16265 |  | % | A | 0.08303 |  | % | A | 0.07571 |  | % | A | 0.06818 |  | % | A | 0.06459 |  | % | A | 0.05073 |  | % | A | 0.05061 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 0.00000 |  | % | A | 2.31764 |  | % | A | 0.00000 |  | % | A | 2.31764 | <= 5.0 | % | A | 97.68236 | >= 95.0 | % | A | 1.47000 | No specifications |  | A | 0.88000 |  | % | A | 1.20000 | No specifications |  | A | 0.70000 |  | % | A | 0.99000 | No specifications |  | A | 0.18000 |  | % | A | 0.98000 | No specifications |  | A | 0.16000 |  | % | A | 1.49000 | No specifications |  | A | 0.08000 |  | % | A | 1.27000 | No specifications |  | A | 0.08000 |  | % | A | 1.03000 | No specifications |  | A | 0.07000 |  | % | A | 1.06000 | No specifications |  | A | 0.06000 |  | % | A | 1.14000 | No specifications |  | A | 0.05000 |  | % | A |  | No specifications |  | A |  |  | %
2 | ACC0001-XX |  | 890000201628 | 36 Mte -20°C ALC-0366 Bulk | 5000 | Endotoxine | 800600012 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 3 | 7000054133 | 1 | 04.11.2025 | 07:43:36 | [252 empty] | A | 1.51875 | 1.5 | mg/ml | A | 0.06670 | <= 0.20 | EU/mg | [228 empty] | A | 0.20010 | <= 0.20 | EU/mg
2 | ACC0001-XX |  | 890000201628 | 36 Mte -20°C ALC-0366 Bulk | 5010 | TAMC & TYMC | 800600012 |  | CH71 | 5.87854.2100 | ALC-0366 Bulk | 2023-09-15 | 2022-09-19 |  |  |  | 2 | 7000054215 | 1 | 04.11.2025 | 07:43:36